## PIPE-BOM
GAS FLOW METERING SYSTEMS CW ONLINE ANALYZERS
626-05-D1-R1 BOQ SINGLE VALVE
Item | Class | Description | Size | Unit | Qty | Remarks
FLANGES
1 | CL 600 | FLG WELD NECK, SCH 80S, WN, RTJ, ASME B16.5, ASTM B564 UNS N08825, NACE MR0175/ISO15156 | 1" | Nos. | 6
1 | CL 600 | FLG WELD NECK, SCH 40S, WN, RTJ, ASME B16.5, ASTM B564 UNS N08825, NACE MR0175/ISO15156 | 2" | Nos. | 45
1 | CL 600 | FLG WELD NECK, SCH 40S, WN, RTJ, ASME B16.5, ASTM B564 UNS N08825, NACE MR0175/ISO15156 | 3" | Nos. | 45
2 | CL 600 | FLG WELD NECK, SCH 80, WN, RTJ, ASME B16.5, ASTM B350 GR LF2 CL1 CLAD UNS N08825, NACE MR0175/ISO15156 | 20" | Nos. | 28
3 | CL 600 | FLG WELD NECK, SCH 80, WN, RTJ, ASME B16.5, ASTM B350 GR LF2 CL1 CLAD UNS N08825, NACE MR0175/ISO15156 | 24" | Nos. | 2
1 | CL 600 | FLG BLIND, SCH 40S, WN, RTJ, ASME B16.5, ASTM B564 UNS N08825, NACE MR0175/ISO15156 | 2" | Nos. | 4
3 | CL 600 | FLG BLIND, SCH 80, WN, RTJ, ASME B16.5, ASTM B350 GR LF2 CL1 CLAD UNS N08825, NACE MR0175/ISO15156 | 24" | Nos. | 2
EQUAL TEES
9 |  | EQUAL TEE, BW, ASME B16.9, WELDED(100%RT), ASTM A420 GR WPL6W CLAD UNS N08825, NACE MR0175/ISO15156 | 2" | Nos. | 12
9 |  | EQUAL TEE, BW, ASME B16.9, WELDED(100%RT), ASTM A420 GR WPL6W CLAD UNS N08825, NACE MR0175/ISO15156 | 3" | Nos. | 5
9 |  | EQUAL TEE, BW, ASME B16.9, WELDED(100%RT), ASTM A420 GR WPL6W CLAD UNS N08825, NACE MR0175/ISO15156 | 20" | Nos. | 4
OLETS
15 |  | WELD-O-LET, MSS SP-97, ASTM B564 UNS N08825, NACE MR0175/ISO15156 | 20"x1 1/2" | Nos. | 6
15 |  | WELD-O-LET, MSS SP-97, ASTM B564 UNS N08825, NACE MR0175/ISO15156 | 20"x2" | Nos. | 15
15 |  | WELD-O-LET, MSS SP-97, ASTM B564 UNS N08825, NACE MR0175/ISO15156 | 20"x3" | Nos. | 2
15 |  | WELD-O-LET, MSS SP-97, ASTM B564 UNS N08825, NACE MR0175/ISO15156 | 24"x2" | Nos. | 7
REDUCERS
20 |  | REDUCER CONC, BW, ASME B16.9, WELDED(100%RT), ASTM A420 GR WPL6W CLAD UNS N08825, NACE MR0175/ISO15156 | 24"x20" | Nos. | 2
ELBOWS
18 |  | 90 LR ELL, BW, ASME B16.9, LR SMLS, ASTM B366 GR WPNICMC-S, NACE MR0175/ISO15156 | 3/4" | Nos. | 6
18 |  | 90 LR ELL, BW, ASME B16.9, LR SMLS, ASTM B366 GR WPNICMC-S, NACE MR0175/ISO15156 | 2" | Nos. | 15
18 |  | 90 LR ELL, BW, ASME B16.9, LR SMLS, ASTM B366 GR WPNICMC-S, NACE MR0175/ISO15156 | 3" | Nos. | 10
18 |  | 90 LR ELL, BW, ASME B16.9, WELDED(100%RT), ASTM A420 GR WPL6W CLAD UNS N08825, NACE MR0175/ISO15156 | 20" | Nos. | 6
SPECTACLE BLIND
21 | CL 600 | SPECTACLE BLIND, RTJ, ASME B16.48, ASTM A424 UNS N08825, NACE MR0175/ISO15156 | 2" | Nos. | 6
21 | CL 600 | SPECTACLE BLIND, RTJ, ASME B16.48, ASTM A424 UNS N08825, NACE MR0175/ISO15156 | 3" | Nos. | 1
21 | CL 600 | SPACER & BLANK, RTJ, ASME B16.48, ASTM A516 GR 70 S5 CLAD UNS N08825, to suit ASME B16.5 NACE MR0175/ISO15156 | 20" | Nos. | 6
PIPE
22 | CE3L0C-JX | PIPE, SMLS, BE, SCH 40S, ASME B36.19M, ASTM B423 UNS N08825, NACE MR0175/ISO15156 | 2" | Mtrs | 8
22 | CE3L0C-JX | PIPE, SMLS, BE, SCH 80, ASME B36.10M, EFW(100% RT) ASTM A671 GR CC65 CL22 S2 CLAD UNS N08825, NACE MR0175/ISO15156 | 20" | Mtrs | 40
22 | CE3L0C-JX | PIPE, SMLS, BE, SCH 80, ASME B36.10M, EFW(100% RT) ASTM A671 GR CC65 CL22 S2 CLAD UNS N08825, NACE MR0175/ISO15156 | 24" | Mtrs | 3

## STR- BOM
STRUCTURAL BOM
MARK | QTY | DESCRIPTION | LENGTH | WEIGHT(Kg)
1 | 1 | UC254x254x132 | 160 | 21120
|  | platform and others |  | 5000
|  |  | TOTAL | 26120
GRATING BOM
1 | 1 | Grating - Hot dipped Galv. | 16 m X 6 m | 2400
2 | 1 | Grating - Hot dipped Galv. | 14 m X 6 m | 2100
|  |  | Total(Kg) | 4500
Instrument support BOM
1 | 2 | Single JB support. | - | 400
2 | 2 | Double JB support. | - | 700
3 | 10 | Instrument stand | - | 1000
|  |  | Total(Kg) | 2100
|  |  | Total weight for structural (Kg) | 32720